Requirements Documentation

Interactive House - AI Smart Control and Safety Architecture

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 2026-02-04 | 1.0 | Initial automation-based functional requirements | Md Abu Taher |
| 2026-02-24 | 1.1 | Refined requirements to reflect AI-based smart control system (R1-R4) | Md Abu Taher |
| 2026-02-24 | 1.1 | Refined requirements to reflect AI-based smart control system (R5-R8) | Anitta Antony |
| 2026-02-24 | 1.0 | Smart Home Code | Daniel Marcarini |
| 2026-02-24 | 1.1 | Refined Requirements Based on R9 | Daniel Holderik |
| 2026-03-16 | 1.2 | Updated AI requirements for web and Firebase AI | Md Abu Taher Anitta Antony |
| 2026-03-16 | 1.1 | Testing | Daniel Marcarini |
| 2026-04-22 | 1.3 | Added emergency button feature | Anitta Antony Md Abu Taher |

Requirements List

| Requirement Name | Priority | Progress |
| --- | --- | --- |
| R1. Process natural language commands | Essential | Done |
| R2. Control smart door and windows system | Essential | Done |
| R3. Control ventilation system | Essential | Done |
| R4. Monitor and respond to fire detection | Essential | Done |
| R5. Monitor and respond to gas leakage | Essential | Done |
| R6. Monitor environmental conditions | Essential | Done |
| R7. Maintain device state information | Essential | Done |
| R8. Provide intelligent feedback to user | Desirable | Done |
| R9. Support Speech based user commands | Desirable |  |
| R10. Support verification of web-based device control flow | Desirable |  |
| R11. Provide emergency assistance trigger | Essential | Done |

Requirements Descriptions

R1 – Process natural language commands

The system shall allow users to issue commands in natural language through the web and mobile application. The system shall interpret user intent, extract relevant information (action and target device), and convert it into structured executable instructions. The system shall handle variations in user phrasing and ambiguous expressions where possible.

R2 – Control smart door and windows system

The system shall allow users to control the smart door and windows through AI commands. The system shall support opening, closing, and locking the door and windows system.

R3 – Control ventilation system

The system shall allow users to activate or deactivate the ventilation fan through AI commands. The System shall also allow the ventilation system to be triggered automatically in response to environmental or safety conditions.

R4 – Monitor and respond to fire detection

The system shall continuously monitor fire detection sensors. If fire is detected, the system shall automatically activate the fire alarm. The system shall notify the user of the detected emergency condition. Emergency responses shall occur without requiring user interaction.

R5 – Monitor and respond to gas leakage

The system shall continuously monitor gas sensors for leakage detection. If gas leakage is detected, the system shall automatically activate the gas alarm. The system may automatically activate the ventilation system to reduce risk. The system shall notify the user of the detected hazard.

R6 – Monitor environmental conditions

The system shall monitor indoor temperature and rain conditions. The system shall provide the user with the current temperature upon request. If environmental thresholds are exceeded, the system may suggest or trigger appropriate actions such as activating ventilation. If rain is detected, the system shall notify the user.

R7 – Maintain device state information

The system shall maintain updated state information for all connected devices and sensors. This includes door status, windows status, ventilation status, alarm states, rain detection status, and current temperature. The system shall use stored state information to correctly interpret context, dependent user commands.

R8 – Provide intelligent feedback to user

The system shall provide clear and meaningful responses to user commands. If a command is successfully executed, the system shall confirm the action. If a command is unclear or invalid, the system shall provide corrective feedback or request clarification.

R9 – Support speech-based user commands

The system shall allow users to issue commands using speech through the web and mobile application. Spoken input shall be converted into text using speech recognition and processed through the existing AI command processing system. The system shall support navigation and device control using voice commands.The system shall allow voice commands to trigger user interface actions such as pressing buttons, adjusting sliders, and navigating between application screens.

R10 – Support verification of web-based device control flow

The system shall support verification of web-based device-control interactions, including authentication, state updates, and synchronization between the web interface and backend device data. This requirement exists to ensure that implemented control features can be tested in a structured and repeatable way before demonstration and delivery.

R11 - Provide emergency assistance trigger

The system shall provide an emergency button accessible from the user interface across all application screens. When activated, the system shall trigger an emergency assistance flow, such as displaying a call interface or alert notification.

The emergency feature shall be designed for immediate access and visibility, ensuring usability for elderly or vulnerable users. The system shall simulate an emergency call or alert mechanism without requiring integration with external communication services.

# Daniel Marcarini - Smart Home code

| Requirement Name | Priority |
| --- | --- |
| R1. Monitor and respond to gas detection | Essential |
| R2. Execute staged gas safety response | Essential |
| R3. Control smart window system | Essential |
| R4. Control smart door system | Essential |
| R5. Monitor environmental conditions | Essential |
| R6. Provide real-time system feedback | Essential |
| R7. Support manual user interaction | Essential |
| R8. Support Bluetooth remote interaction | Desirable |

# Requirements Descriptions

### R1 – Monitor and respond to gas detection

The system shall continuously monitor gas sensor input values. If the measured gas level exceeds a predefined threshold, the system shall detect this condition as a potential hazard. The system shall initiate a safety response without requiring user interaction.

### R2 – Execute staged gas safety response

When hazardous gas levels are detected, the system shall activate an audible alarm. The system shall execute a staged safety procedure including alarm activation and automatic ventilation support. The system shall maintain the alarm state until the hazardous condition is resolved.

### R3 – Control smart window system

The system shall allow the smart window to be opened and closed using a servo motor. The system shall support both automatic window opening in emergency situations and manual control through user input.

### R4 – Control smart door system

The system shall allow the smart door to be opened and closed using a servo motor. The system shall respond to user interaction commands and update the door state accordingly.

### R5 – Monitor environmental conditions

The system shall continuously monitor indoor temperature and ambient light levels using appropriate sensors. The system shall provide environmental data for display and system logic processing.

### R6 – Provide real-time system feedback

The system shall display system status information on an LCD screen. This shall include environmental conditions, alarm states, and device status information. The system shall provide clear feedback during both normal and emergency operation.

### R7 – Support manual user interaction

The system shall allow users to interact with connected devices using physical push buttons. The system shall detect button state changes and execute corresponding device actions.

### R8 – Support Bluetooth remote interaction

The system shall allow remote interaction through a Bluetooth communication interface. The system shall process incoming commands and execute corresponding actions when valid instructions are received.